Fire Safety Policy

Sept 2025

Chair of Governors:

Date:______________________

Headteacher:

Date:______________________

# Draft Vision Statement

Williamstown Primary School recognises its place in the heart of its community. We value the rich interactions created by our relentless pursuit for excellence as each member of the community strives for success. This ambition creates challenge, and we work together, using our core values to support each other to achieve. We have high expectations of each other and value the process of building our community into a safe, inclusive, fair environment which focuses on developing the unique qualities of every individual. We all believe in our community’s purpose in providing an innovative, engaging environment where our young people grow into independent, resilient, thoughtful contributors.

## UN Convention on the rights of children

At Williamstown Primary School we put the United Nations Convention on the Rights of the Child (UNCRC) at the heart of our school’s planning, policies, practice and ethos. We follow the Nurture Schools ethos where we teach about children’s rights and also model rights and respect in all its relationships: between teachers, adults and learners.

The UNCRC underpins our school vision and aims. In designing, adopting and implementing our curriculum, we incorporate opportunities for learners to:

- learn about human rights: the acquisition of knowledge and skills about human rights, and the sources of those rights

- learn through human rights: the development of values, attitudes and behaviours that reflect human rights values

- learn for human rights: the motivation of social action and empowerment of active citizenship to advance respect for the rights of all.

## Inclusion

Williamstown Primary School is an inclusive school that aims to meet the needs of all its learners. The Additional Learning Needs and Education Tribunal (Wales) Act 2018 is a legislative framework for improving the planning and delivery of additional learning provision through a person-centred approach. Identifying needs early, putting in place effective support and monitoring, and adapting interventions is key to ensuring that we deliver desired outcomes.

At Williamstown Primary School we use this framework to allow for a broadening of learning, ensuring that all learners with additional learning needs (ALN) are supported to overcome barriers to learning and achieve their full potential

Section 1: Fire Policy Statement

# Introduction

The Regulatory Reform (Fire Safety) Order 2005 came into effect on the1st October 2006. It replaced all previous fire safety legislation.

# The purpose of the legislation is to place a greater emphasis on fire prevention by ensuring that all persons responsible for premises comply with their statutory duties far more robustly than under previous fire legislation and implement the general fire precautions which are needed to protect all relevant persons from harm.

Policy Statement

Fire is probably the most serious hazard that most school staff will ever have to face. It can break out almost anywhere, at any time and affect everyone. It is therefore the overall aim of the Head Teacher and Board of Governors of Williamstown Primary School to minimise the risks to staff, pupils and visitors which may arise from fire. This will be achieved by ensuring precautions are taken to avoid fires occurring and by ensuring that procedures for minimising the effects of an outbreak of fire and evacuating the premises are in place.

Fire Safety Management

The Head Teacher, is designated as the Fire Safety Manager for the school.  The main duties of the Fire Safety Manager are to:

- ensure that a suitable and sufficient FSRA is undertaken and action plan developed;

- implement recommendations from the FSRA;

- ensure staff have received adequate information, instruction and training regarding their responsibilities;

- produce an emergency plan and put up fire notices;

- conduct fire drills;

- check the adequacy of emergency lighting, fire alarm and detection system, fire fighting equipment and have arrangements in place for their maintenance;

- consult with relevant persons on matters of fire safety;

- make frequent informal checks and conduct regular fire safety inspections and record the findings;

- ensure fire escape routes and fire exit doors/passageways are unobstructed and doors operate correctly;

- provide appropriate instruction and/or training for all persons, including contractors and other visitors, on the actions to be taken in the event of a fire;

- ensure the Fire Safety Log Book is kept up to date and accessible.

The Fire Safety Manager will arrange for the provision of competent, technical advice and support on matters where necessary for the implementation of this policy.

The Fire Safety Manager will ensure that adequate resources are provided to meet the school’s legal responsibilities. This policy will be periodically reviewed to ensure its effectiveness and that any necessary changes are identified and made. The policy will be placed on staff notice boards and discussed at staff meetings.

The Fire Safety Manager reminds all staff, whatever their status, of their health and safety duties to take reasonable care of their own safety and that of others.  Staff must co-operate with management to enable the employer comply with their duties.

Section 2: Arrangements for carrying out the policy

The school recognises its obligations under fire safety legislation and implements the following practical arrangements in order to meet these obligations.

Fire Safety Risk Assessment

The Fire Safety Manager will ensure that a suitable and sufficient fire safety risk assessment is completed.  The risk assessment will identify all significant findings and the Fire Safety Manager will develop a prioritised action plan identifying work required. The assessment should consider not only daytime activities but also activities undertaken outside normal school hours. For example, after school clubs, evening classes, parent evenings etc. Emergency plans for the school will be drawn up by the Fire Safety Manager taking into account the findings of the fire safety risk assessment.

The fire safety risk assessment and action plan will be reviewed annually by the Fire Safety Manager who will inform the governing body and the Local Authority of any ongoing fire related issues.  Further reviews of the FSRA will occur when there has been significant building alterations or changes to the school activities or content.

The most recent FSRA and action plan is dated March 2018 and was undertaken by the local ire service on behalf of the school.

Fire Safety Training/Instruction

The Fire Safety Manager will ensure that adequate fire safety training for staff is provided. The type of training will be based on the findings of the FSRA and on the particular features of the school and will:

• 	explain the emergency procedures;

• 	take account of the work activity and explain the duties and responsibilities of staff;

• 	take place during normal working hours and be repeated periodically where appropriate;

• 	be easily understandable by staff and other people who may be present; and

• 	be tested by fire drills.

Training will also involve pupils in some aspects. Pupils will be shown the fire exits and given basic training on what to do if there is a fire. All staff identified in the emergency plan who have a supervisory role if there is a fire, such as fire marshals/wardens, will receive additional training.

The Fire Safety Manager will undertake an annual review of training to determine if further specific training is required. All agency/visiting staff will be informed of the emergency evacuation procedure at induction or prior to them commencing work. All new staff to be taken through the annual training schedule on their first day as part of their induction.

All records of training & induction to be recorded on Ramis

More detailed information regarding training is contained within Appendix 1.

Fire Drills

The Fire Safety Manager is responsible for ensuring that fire drills are undertaken. Fire drills will be used to highlight potential problems before an emergency situation occurs.  The actions of staff and pupils during these evacuations will be rehearsed and improved.

The main alarm indicator panel is situated in the Main Entrance. Fire drills are executed by the Fire Safety Manager and/or School Caretaker via the main alarm indicator panel. Different times and days of the week will be used.  Some drills will be spontaneous and unplanned whilst others are planned with staff being given notice ensuring all staff are aware of the procedures.

Fire drills will be carried out every term by the Headteacher The Fire Safety Manager will on occasion, consider deliberately blocking exits to test individuals’ knowledge and site procedures. When a drill is held it will be recorded on the RAMIS system with any observations made during the drill. Any false alarms will be used as drills and these will again be noted in the logbook. As part of Health and Safety monitoring, the Fire Safety Manager will periodically check the Fire Safety Log for compliance purposes.

Evacuation

It is the responsibility of all staff to be aware that upon outbreak of fire the saving and preservation of life takes precedence over the salvaging of property.

During lesson time the safe evacuation of pupils is the responsibility of the Class Teacher and any Classroom Assistants. The Emergency Plan and Fire Action Notices are placed in each classroom, at every manual call point and other strategic places throughout the school (see Appendices 2 and 4). Any pupils with physical disabilities will have Personal Emergency Evacuation Plans (PEEPs) prepared by the Head Teacher or nominated staff member.

Following the activation of the alarm all staff/pupils/visitors will assemble at the assembly point (FPh yard) unless the source of the fire makes this impossible. At the assembly point nominated persons (Class Teachers) will immediately do a head count and will call the register.  Absentees will immediately be reported to the Fire Safety Manager or deputy head in his/her absence.

All doors should be closed after the last person has exited. This will prevent fire spreading and so minimise damage. All fire exit routes are signed clearly with directional arrows.

The host is responsible for any accompanied visitors.  They will escort the visitor to the fire exit and assembly point.  The visitors iPad is taken to the assembly point by the School clerk

Contractors must be greeted on site by the caretaker, Headteacher or school clerk before they commence work. They will be made aware of the fire procedures, instructed on housekeeping requirements including storage of waste. Further guidance regards the control of contractors can be found in the Council’s Managing Contractors H&S Policy (HS23).

During school plays or other events where large numbers of the public are present the Fire Safety Manager will ensure that all escapes routes are free from obstructions and easily visible. Any stage units and seats will be so positioned that they do not create a hazard and/or block escape routes etc. The fire evacuation arrangements will be relayed to the audience before the commencement of the performance. The maximum occupancy numbers must not be exceeded.

The Fire Safety Manager (or in his absence The Deputy Head) is responsible for establishing control and communications at the Fire Assembly Point, receiving reports from staff and others, noting any missing people identified by staff and undertaking a roll call and reporting these to the emergency services on arrival.

Fire Detection & Alarm Systems, Emergency Lighting, Sprinkler & Fire Fighting Equipment

Regular testing and maintenance of the above-mentioned systems are essential to ensure the continued safety of all occupants.  The testing and maintenance of these systems is shared between those tests undertaken by the caretaker and the tests made by the appointed contractor.  It is the responsibility of the Fire Safety Manager to ensure both sets of tests are undertaken and are clearly documented within the fire logbook. (See appendix 3 for a summary of the tests and checks to be undertaken by the in-house appointed person. Further guidance is available within the fire log book).

The competent contractor(s) responsible for the testing, inspection and maintenance of the Fire Detection and Alarm System is Chubb. The school follows the Service Level Agreement (SLA) established through Premises and Facilities for quarterly visits* by the appointed contractor.

The competent contractor(s) responsible for the testing, inspection and maintenance of the Emergency Lighting is Brecongate. The school follows the SLA established through Premises and Facilities for quarterly visits* by the appointed contractor.

The competent contractor(s) responsible for the inspection and maintenance of the Fire Fighting Equipment is Chubb. The school follows the SLA established through Premises and Facilities for an annual visit* by the appointed contractor.

* It is the responsibility of the Fire Safety Manager to inform Premises and Facilities if the testing, inspection and maintenance of this equipment has not been undertaken in compliance with these frequencies.

Please refer to Appendix 3 for list of frequencies for the in-house tests and checks of the fire alarm and detection systems, fire fighting equipment, emergency lighting system, doors and escape routes. NB. - Records of these tests must be kept in the Fire Safety Log Book located in the School/Secretary’s office.

Emergency Exits & Escape Routes

Emergency exits and fire escape routes are to be kept available and free from obstructions at all times. This will be monitored on a daily basis by all staff who will report any hazards to the Fire Safety Manager.  At large gatherings, for example school plays, all relevant emergency exits must be made known to visitors and be accessible.

Fire Notices

Fire notices, including the emergency plan, are positioned in each classroom and by all manual call points.  All staff and pupils must ensure that they are familiar with them and are aware of the appropriate assembly point(s).

Displays

Displays will be kept to a minimum and must never be sited in corridors and stairways that form part of designated fire escape routes. Displays must be kept away from exits, curtains, heat sources and must not obscure fire notices, call points, fire fighting equipment, lighting etc.

Hirers

Formal leasing/block-booking agreements are in place for any letting of the school building. This ensures that safety, security and housekeeping are not compromised.  All leaseholders will be made aware of the emergency procedures, location of fire exits and escape routes (including alternates), location and use of manual call points and fire fighting equipment, and the operation of the fire alarm panel. Hirers should know how to contact the emergency services and the location of the nearest telephone. The Fire Safety Manager can place restrictions on the use of the letting or activity being undertaken, including the number of persons who can be accommodated and the layout of seating etc.  You should liaise with Corporate Estates for further advice.

Smoking

Smoking is prohibited in or around the school.

Arson

In order to prevent arson the Fire Safety Manager will ensure that the FSRA highlights the vulnerability of the school to potential arson attacks e.g. refuse bins stored too close to the school, poor security, previous incidents etc.

Method of calling the Fire Service

In the event of a fire alarm sounding the clerk or Headteacher will call the fire service on (9) 999.  For extended school clubs and any out of hour lettings the caretaker will call the fire service on (9) 999.

Reporting of Fire Incidents

All fire incidents will be reported to the Fire Safety Manager who will ensure that the Local Authority, Board of Governors, and Council’s Health and Safety Team are informed.

This policy will be reviewed on an annual basis.

# Appendix 1

# Fire Safety Training

# The Fire Safety Manager will provide annual refresher training/instruction for all staff. This training will include:

- what to do on discovering a fire; how to raise the alarm and what happens then;

- the operation of the fire alarm control panel; what to do upon hearing the fire alarm;

- the procedures for alerting pupils, members of the public and visitors including, where appropriate, directing them to exits;

- the arrangements for calling the fire and rescue service;

- the evacuation procedures for everyone in the premises (including young children, mobility impaired persons) to reach an assembly point at a place of total safety;

- the location and, when appropriate, the use of fire-fighting equipment;

- the location of escape routes, especially those not in regular use;

- the importance of keeping fire doors closed to prevent the spread of fire, heat and smoke; how to open all emergency exit doors;

- where appropriate, how to stop machines and processes and isolate power

supplies in the event of a fire;

- the reason for not using lifts;

- the safe use of and risks from storing or working with highly flammable and

explosive substances;

- the importance of general fire safety, which includes good housekeeping;

# the use of premises by outside bodies.

# Appendix 2

Emergency Plan

In the event of a fire and it being signalled, it is clearly understood by all staff that the immediate responsibility is to safeguard lives. To this end, the procedure below should be followed.  The signal for the fire will be the continuous ringing of the fire alarm bell.

| Action on discovering a fire | - raise the attention of others by activating the nearest call point which are situated on all escape routes; - use fire-fighting equipment if safe to do so and you are trained to do so; - evacuate to the designated assembly point: - notify the Fire Safety Manager as soon as possible and give precise details about fire; |
| --- | --- |
| What to do if the fire alarm sounds | - the school secretary will call (9)999 and ask for the Fire Service; - teachers and support staff will commence evacuation to the designated assembly point in an orderly fashion, using the nearest available exit(s); - the school secretary will collect registers and signing ipad. - if possible and safe to do so staff will ensure all windows and doors are closed; - teachers will sweep designated areas as per direction. - On arrival at the assembly point class teachers will immediately do a head count and call the register. Absentees will immediately be reported to the Fire Safety Manager (or Deputy Head Teacher in his/her absence) in order to report this to the fire service on their arrival. |
| Liaison with Emergency Services | The Fire Safety Manager will liaise with the emergency services and inform the senior officer: - of the location of the fire; - of what the fire involves; - of any special risks e.g. location of highly flammable materials: - whether or not all persons are evacuated from the building. |
| Assembly Points | - the assembly point for Reception to Year 6 is the junior football yard - the assembly point for nursery is under the foundation phase canopy - the assembly point for nurture is under the junior canopy |
| Fire fighting equipment use | - fire fighting equipment is provided on all escape corridors and should be used by trained staff: - no person should put themselves and others at risk when fire fighting: - the first priority is to evacuate the building quickly and safely. |
| Responsibilities of specific staff | - if safe to do so kitchen staff will ensure all appliances are switched off and/or isolated. - any one-to-one or special support staff will follow the requirements of the personal emergency evacuation plans (PEEPs) developed for specific pupils. |

# Appendix 3

In-house - Fire Safety Maintenance Summary

Introduction

This summary outlines the frequency and type of checks and tests that the Fire Safety Manager must undertake to keep fire equipment, devices and facilities in effective order.

| Frequency | System | Action Required | Fire Log Book |
| --- | --- | --- | --- |
| Daily | Fire Alarm System | Check the alarm panel for normal operation, check for any faults. | Only record faults in the fire log book |
|  | Emergency Lighting System | Check that maintained lights (those that are on all the time) are illuminated or non-maintained lights (those only illuminated when the normal lighting fails) are operational by checking that the small indicator light is illuminated. | Only record faults in the fire log book |
|  | Doors and Exits | Remove bolts, padlocks and security devices. Ensure escape routes and doors are clear and unobstructed. | No requirement to log these checks |
| Weekly | Fire Alarm System | Test break-glass point using the appropriate key. Test a different break glass point each week on a rota basis (ensure any automatic door release mechanisms and/or electronic door locks are to be checked for correct operation during tests). | Record testing in the fire log book |
| Monthly | Fire Alarm System | Ensure access to break glass points are not obstructed and clear space is maintained around any smoke/heat detectors. | Record testing in the fire log book |
|  | Emergency Lighting System | Check all emergency lights operate correctly by simulating a mains failure (using the fish tail key). | Record testing in the fire log book |
|  | Fire Fighting Equipment (FFE) | Visual inspection – ensure FFE is unobstructed, correct position, gauges normal pressure, seals/tamper tags are in place, undamaged. | Record checks in the fire log book |
|  | Fire Exits and Escape Routes | Ensure that fire escape routes and fire exits are clear and unobstructed. | Record checks in the fire log book |

The Fire Safety Manager must enter details of any tests and checks in to the fire log book. Any faults identified must be recorded together with corrective actions.

As well as the tests and checks undertaken by the Fire Safety Manager, Corporate Maintenance have contracts in place for the quarterly maintenance of fire alarm, emergency lighting systems and annual servicing of fire fighting equipment. If contractor testing is not being undertaken in accordance with the set frequencies then the Fire Safety Manager should contact Corporate Maintenance for advice.

Contact Details:

Health and Safety Team:  01443 42500	  Corporate Maintenance: 01443 281155